## Summary
Care Home: |  | Registered as: | NH | RH | DUAL
Completed on: |  | No of Residents:
Completed by: |  | No of Staff:
Accompanied by: |  | Registered Manager:
Email address: |  | Registered Operator:
Telephone number: |  | IPC Lead:
Rooms seen:
Overall rating %: | 0 | Next audit due:

## Topic areas
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
1.0 POLICIES AND AUDIT
1 | Are the following policies available to staff: - Infection Control Guidelines - Outbreak Management - Waste Policy - Sharps Policy | Check that these are readily available to all staff and in date (or recorded that reviewed in past 2 years and still current). If Bury IPC policy (2018) in place this will be compliant but check that have separate D&V and flu outbreak guidance. Record name and role of IPC lead in this box:
2 | Aseptic Non Touch Technique guidance/policy is up to date and available for all care staff? (nursing bedded) | Check that in date (or recorded that reviewed in past 2 years and still current)
3 | Is there an up-to-date catheter policy/guidance available to all staff? | Check that in date (or recorded that reviewed in past 2 years and still current)
4 | Is there clear documented evidence of monthly mattress and pressure relieving cushion audits | Check records for when carried out; less than monthly may be appropriate if resident is continent. Check how issues dentified are recorded/actioned
5 | Are commodes audited weekly and checks documented? | Check records for when carried out; check how issues identified are recorded/actioned
|  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
2.0 MANAGEMENT OF INFECTIONS AND OUTBREAKS
1 | Staff know where to obtain infection control advice? | Do staff know where Health Protection Nurses/UIKHSA's contact details are (are they correct)?
2 | Infection control is included in the induction training programme for new staff. | Check that all staff except very new ones have completed as part of induction, or dates planned if not
3 | Documented evidence of Infection Control Training in the last 12 months? | Check records of training updates; does not need to be attendance at a session but should be some form of update. Record how this is done and how many staff have had updates
4 | All staff are aware of the basic signs and symptoms of infection? Ask members of staff. | Should identify behaviour change as well as e.g. feeling hot, cough, d&v. Ask about urine - staff should be aware of to dip or not to dip flowchart and that strong smelly urine is not necessarily a symptom of UTI
5 | Is the home able to provide or secure isolation facilities for residents with known or suspected infection/in the event of an outbreak; or have a documented process in place for cohorting affected individuals? | Is isolation facility available within the setting to ensure the residents can be cared for appropriatley? Do you have an area identified that could be used as a cohort area is necessary?
6 | Staff are aware of the definition of an outbreak and how to contact the infection control team | = 2 or more with similar symptoms
7 | Do staff know where to access outbreak documentation/guidance (e.g. 'outbreak' box) | Are all staff aware were this is allocated?
8 | Infection status is checked and clearly documented for new admissions; and on return to the facility from alternative health/social care settings | Staff aware to ask this prior to return from another setting and for any new admisisons? Staff are aware where this information should be documented? Where is it documented
9 | Infection status is clearly documented on transferring a resident to another health or social care setting | Check what transfer documentation is used, and what is included re:infection status/antibiotic history
10 | The care home has evidence that all residents have been offered vaccination as per seasonal or national programme (e.g. influenza, COVID-19, pneumococcal, shingles) and vaccination clearly documented | Check to ensure this information is readily available (ask how the home is made awrae of this and ask to see where it is documented).
2.1 Staff
11 | Is there a clear, agreed process in place for staff to inform management of their own infectious status? (e.g. skin rash; D & V; respiratory illness) | Ask how staff are informed that they need to do this and if on recruitment how are they reminded of the requirement
12 | Are all staff encouraged to have their annual flu vaccination? | Ask what the home does to encourage flu vaccination uptake amongst staff
13 | The home has a system in place to manage the occupational health needs and obligations of and to staff in relation to infection (e.g. Hep B vaccination) | Evidence of risk assessment re: whether vaccination is advised and if so information for staff to make an informed choice; information should be available re:action after body fluid exposure/needlestick
2.2 Personal protective equipment (PPE)
14 | Are disposable aprons and gloves readily available when required (i.e. residents rooms; communal bathrooms; toilets) | Tabards not used instead of aprons, no household gloves in care areas (ok for kitchen duties). Ensure readily available but stored safely (e.g. risk of glove ingestion, turn box to face wall in dispenser) but should not be on open display/too far away
15 | Do non-sterile gloves conform to EN455 (blood & bodily fluids) and EN374 (cleaning solutions) | Check that vinyl gloves are not used if risk of exposure to bodily fluids/cleaning chemicals (poor fitting and do not meet required standard).
16 | Are non-sterile gloves available in different sizes
17 | Are Type IIR (fluid repellent) face masks available for care delivery or activities within 2 metres of individuals, and Type II for other activities | Check where these are stored - should be in box not loose, and not on open display
18 | Are correct items of PPE and fit testing provided for staff where aerosol generating procedures are carried out | n/a if no AGPs
19 | Do staff have access to eye protection where risk of splash or contamination | Note whether single use or reusable
20 | Staff are aware of the process for cleaning and storing reusable items of PPE (e.g. goggles, face visor) | Check process includes disinfection stage (or combined product) and storage method minimises contamination; n/a if only single use
21 | Staff observed to be using PPE correctly (i.e. task/area specific, including non-care areas) | Look at appropriateness of what PPE is used and where/when PPE is removed
22 | Documented evidence of training and assessment for staff in correct order for putting on and removing (donning and doffing) PPE | Look at records of individual staff training
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
3.0 COMMUNAL AREAS - reception area and corridors/landings
1 | Reception and corridors are free from unpleasant smells/malodours |  |  |  |  | ü
2 | Are the following areas clean and dust free: -Skirting boards -High level fixture and fittings -Hand/dado rails -Light Switches -Lighting/shades/ceiling fans/vents | Check walls, windows, picture frames, fans, light fittings are free from dust/debris/insects etc
3 | Are all items of furniture in these areas wipeable, in good state of repair, clean (unzip chair cushions), and included in an agreed cleaning schedule? | Note if not wipeable. Check if clean/no evidence of stains, rips or deterioration due to wear, including behind and under furniture, under arm chair cushions, arms. If damage note any evidence of action planned for replacement/repair; schedule?
4 | There is a robust, documented steam cleaning programme in place for carpets/upholstered fabric items? | Note whether impermeable; if not is steam cleaning/shampooing of furniture carried out and how often (schedule and records)?
5 | Are carpets and/or flooring clean and free from stains? | Check condition of flooring and note any areas of wear, staining or tears/fraying, gaps in laminate, damage etc Check edges and corners of rooms for debris and dust etc
6 | Are ceilings clean and in a good state of repair? | Check for cracks, flaking paint, cobwebs, insects etc
7 | Are walls, wallpaper and tiled areas clean and in a good state of repair? | Check for flaking paint, water marks or mould, damaged walls and surfaces. Note any evidence of action planned for any repairs
8 | Are windows and windowsills in good state of repair and able to be opened to facilitate ventilation | Check that sills are smooth for ease of cleaning, and that there is no mould, glass is intact.
9 | Radiator covers are removed at least 6 monthly and/or following outbreak to facilitate deep cleaning and included on a documented schedule? | Check records for radiator cover removal schedule; check behind radiators and look through gaps in covers to see if any accumulated dust, items, debris
3.1 Lounge(s) and conservatory
10 | Lounge and conservatory areas are free from unpleasant smells/malodours |  |  |  |  | ü
11 | Are the following areas clean and dust free: -Skirting boards -High level fixture and fittings -Hand/dado rails -Light Switches -Lighting/shades/ceiling fans/vents | Check walls, windows, picture frames, fans, light fittings are free from dust/debris/insects etc
12 | Are all items of furniture in these areas wipeable, in good state of repair, clean (unzip chair cushions), and included in an agreed cleaning schedule? | Note if not wipeable. Check if clean/no evidence of stains, rips or deterioration due to wear, including behind and under furniture, under arm chair cushions, arms. If damage note any evidence of action planned for replacement/repair; schedule?
13 | There is a robust, documented steam cleaning programme in place for carpets/upholstered fabric items? | Note whether impermeable; if not is steam cleaning/shampooing of furniture carried out and how often (schedule and records)?
14 | Are carpets and/or flooring clean and free from stains? | Check condition of flooring and note any areas of wear, staining or tears/fraying, gaps in laminate, damage etc Check edges and corners of rooms for debris and dust etc
15 | Are ceilings clean and in a good state of repair? | Check for cracks, flaking paint, cobwebs, insects etc
16 | Are walls, wallpaper and tiled areas clean and in a good state of repair? | Check for flaking paint, water marks or mould, damaged walls and surfaces. Note any evidence of action planned for any repairs
17 | Are windows and windowsills in good state of repair and able to be opened to facilitate ventilation | Check that sills are smooth for ease of cleaning, and that there is no mould, glass is intact.
18 | Radiator covers are removed at least 6 monthly and/or following outbreak to facilitate deep cleaning and included on a documented schedule? | Check records for radiator cover removal schedule; check behind radiators and look through gaps in covers to see if any accumulated dust, items, debris
3.2 Dining and drink preparation areas
19 | Dining areas are free from unpleasant smells/malodours
20 | Are the following areas clean and dust free: -Skirting boards -High level fixture and fittings -Work tops -Light Switches -Lighting/shades/ceiling fans/vents | Check walls, windows, picture frames, fans, light fittings are free from dust/debris/insects etc
21 | Are dining tables and chairs clean, in good state of repair (check undersides), and included in an agreed cleaning schedule? | Check underside edge of dining tables and underside of dining chair arms are free from deposits, surfaces/upholstery in good repair and clean; check schedule for cleaning frequency/whose responsibility
22 | There is a robust, documented steam cleaning programme in place for carpets/upholstered fabric items? | Note whether impermeable; if not is steam cleaning/shampooing of furniture carried out and how often (schedule and records)?
23 | Are carpets and/or flooring clean and free from stains? | Check condition of flooring and note any areas of wear, staining or tears/fraying, gaps in laminate, damage etc Check edges and corners of rooms for debris and dust etc
24 | Are ceilings clean and in a good state of repair? | Check for cracks, flaking paint, cobwebs, insects etc
25 | Are walls, wallpaper and tiled areas clean and in a good state of repair? | Check for flaking paint, water marks or mould, damaged walls and surfaces. Note any evidence of action planned for any repairs
26 | Are windows and windowsills in good state of repair and able to be opened to facilitate ventilation | Check that sills are smooth for ease of cleaning, and that there is no mould, glass is intact.
27 | Radiator covers are removed at least 6 monthly and/or following outbreak to facilitate deep cleaning and included on a documented schedule? | Check records for radiator cover removal schedule; check behind radiators and look through gaps in covers to see if any accumulated dust, items, debris
28 | Are facilities for drinks provision (e.g. hydration stations; beverage rooms) clean and maintained as per an agreed daily schedule with defined roles and responsibilities? | Ask for schedule/whose responsibility and check any equipment (e.g. drinks machines) clean
3.3 Toys and pets
29 | Therapy items (e.g. toys/dolls/twiddle muffs; musical instruments) are in good state of repair, made of washable material, laundered weekly or if visibly dirty as per agreed schedule? | Also check where items not in use are stored
30 | Therapy items cleaned between residents or for named individuals only | Check how managed - labelled for specific resident, how stored etc
31 | Are resident and visitors pets (e.g. cats, dogs, rabbits) regularly wormed, vaccinated, de-flea'd and clean. Are named individuals responsible for monitoring pets welfare? | Also check where food is put out for pets and how long it is left down. Any litter trays in use (how are they managed). Record what animals are kept (to provide IPC information post-audit if nec)
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
4.0 LAUNDRY FACILITIES
1 | The laundry facilities are sited so that soiled articles, clothing and infected linen are not carried through areas where food is stored, prepared, cooked or eaten and do not intrude on other service users? | Ask staff to explain the process of removing laundry from resident's room to delivery to laundry - how, in what, and e.g. where linen skips are kept if used, ask re: hand hygiene after handling
2 | The laundry floor finishes are impermeable, sealed, coved and the wall finishes are smooth and are readily cleanable? | Also check that the laundry is clean (machine surfaces, walls, floor windows, ceilings, light fittings free from dust/debris/insects) as well as any equipment in it - e.g. is there dust on fan vents? Check behind machines and in corners
3 | Linen is segregated appropriately into colour coded linen bags? (Open plastic laundry baskets should not be used.) | Are the bags also washed?
4 | Bags are less than 2/3 full and capable of being fastened? | Check that linen bags in use and also waiting in laundry for processing are not overfull
5 | Water soluble or alginate bags are available for soiled/infected linen?
6 | Clothing of a person with an infectious illness laundered at the highest temperature possible recommended by the manufacturer; delicate items using a laundry bleach or alternative laundry disinfectant. Heavily soiled items should have a pre-wash cycle or sluice cycle selected where available. | Ask how this is managed. If relatives take laundry home what information is provided re:handling e.g. soiled clothing |  |  |  |  | https://www.uhs.nhs.uk/Media/UHS-website-2019/Patientinformation/Visitinghospital/Washingsoiledclothing-patientinformation.pdf
7 | Clean linen is stored in a clean dry area (not bathroom/sluice)? | Check linen storage area away from laundry - is linen on floor, is only clean linen stored in it (no Christmas decs, hair dressing equipment, cleaners' trolleys etc);also check linen stored on trolleys are not in areas open to contamination (e.g. on corridors). In smaller homes what happens (not left in communal areas for collection/drying etc)
8 | Dirty linen is stored appropriately awaiting to be laundered? | Is used linen placed directly into correct coloured bag at point of use? Where is laundry stored, are the bags closed properly, is contaminated linen stored in lidded skips How is it moved to the laundry from care area?
9 | Does the laundry area facilitate a flow-through system? | Ideally should process from dirty area to clean area with no cross over; if not separate areas how this is managed to make sure that clean items are not in the same area when dirty linen is handled; ensure dirty linen is not in contact with the floor and handling of linen for washing is minimal.
10 | Washing machines and tumble dryers are industrial and serviced annually? | Servicing may be carried out at the same time as repairs but this is not always the case and should be checked. How are clothes dried?
11 | Hand washing facilities are available and accessible with liquid soap, paper towels and foot operated bin? | Ensure these are easily accessible, and the facilities are clean. Should be hand hygiene sink not deep sink but if not, should be used only for hand washing. Check the foot operated bin works and is clean inside and out
12 | Disposable gloves, aprons, FFP2 face masks, and items of eye protection are available within laundry area? | Not tabards or 'marigold' type household gloves instead of disposable aprons/gloves
13 | There are no sluice facilities or deep sinks present in the laundry? | See 10 above, ask what happens to contaminated laundry if contains solids (should not be hand sluiced). If deep sink in situ ask what used for
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
5.0 TREATMENT ROOM
1 | There is an identified area for the storage of clean and sterile equipment? | This is usually the meds room in residential homes but this item may not be applicable; applicable in nursing homes
2 | Hand hygiene facilities are available in the clinical/treatment room - including hand wash basin, wall-mounted liquid soap, paper towels and pedal operated general household waste bin? | If the sink is not a hand hygiene sink is it just used for hand hygiene or is it used for e.g. cleaning equipment (should be specifically for hand hygiene, mark a non-compliant if this is not the case). Is the sink clean and clear from e.g. mugs, meds pots etc? Check the foot operated bin works and is clean inside and out. |  |  |  |  | Hand hygiene sinks should have no plug, plughole should not be under the taps, taps should be elbow operated or push taps (no touch turn off). If not no touch, assess hand hygiene practice - paper towel should be used to turn off
3 | There is coved vinyl flooring that is clean and free from dust and grit? | Check corners and under any trolleys. Is there a cleaning schedule for it, and is it clear whose role it is?
4 | All high and low surfaces are free from dust and cobwebs? | Cleaning as previous item
5 | Dressing trolleys are clean and in a good state of repair? | Check top and underside of surfaces clean/not damaged; if no trolley what is used - if trays check clean and ask where they are placed in resident's room whilst procedure in progress (not on bed!) and if surface tray is placed on is cleaned before procedure
6 | Medications trolleys are clean and in a good state of repair? Responsibility for cleaning meds trolleys clear and added to cleaning schedule | Check meds trolley is clean inside and out; meds pots should be washed (unless single use) and dried, not left to dry. Inhaler mouthpieces/aerochamber masks should be clean and not stored together where cross contamination can occur.
7 | Staff are able to recognise the single-use symbol?
8 | Worktops and cupboards are free from clutter and clean inside and out -i.e. free from dust and spillages? | Also check any equipment is clean - e.g. nebulisers, and no inappropriate items in room
9 | Residents receive treatment in a treatment room or their own bedroom? (never in communal areas)
5.1 Medications fridges
10 | Externally the fridge is in good condition?
11 | Internally the fridge is in good condition - clean, frost free, and seals intact? Schedule for cleaning?
12 | Medications are stored correctly - not touching sides or back of fridge?
13 | Medications are in date? (check two random items)
14 | Min/max thermometer is in use and set correctly (2°C / 8°C) | Check temperature recording records (daily) and that staff no what action to take if out of range - recheck, if still out contact pharmacy re:viability of meds
15 | Fridge is used for medications only (i.e. no food, samples or specimens)
16 | Appropriate warnings are visible on the fridge and power supply? | e.g. Do not unplug! on plug
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
6.0 SHARPS MANAGEMENT
1 | A sharps container is available and conforms with B57320 and UN3291? | Should be marked on the container. This item is not applicable if sharps containers not left on premises
2 | Sharps containers are labelled? | Not applicable if sharps containers not left on premises; if DNs leave containers this is relevant and issues should be fed back to them. Labels should be completed by the person who put it together and the person who finished it before sealing it
3 | Sharps containers are assembled correctly? | Is lid on securely
4 | Sharps containers are less than 2/3 full and free from protruding sharps and disposed at 3 months for traceability purposes
5 | Sharps are disposed of at the point of care? (where applicable ensure sharps trays with integral sharps bin are available) | Ask what the process is when a resident needs an injection/blood sample - is sharps box taken to the room
6 | Sharps containers are stored off the floor and in a safe location? | Where are sharps boxes in use and those that are awaiting collection stored; if stored in resident's room is the room locked/where in the room is it kept
7 | Sharps posters are visible? (in clinical rooms) | A sharps poster should be displayed in a relevant place if sharps are in use on the premises (even if the container is not left on the premises) and staff should know where this poster is as a minimum.
8 | Is the temporary closure mechanism used when the sharps container is not in use?
9 | All staff know the procedure to be followed should a sharps injury occur? (ask one member of staff at random) Policy should be in place. | Check a sharps injury poster is displayed in a prominent, appropriate place (e.g. in tx room). Should be a simple easy to follow poster
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
7.0 CLINICAL PRACTICES
1 | Staff performing activities that require Aseptic Non touch Technique have attended annual training (Nursing beds), including hand hygiene NA for residential facilities | Check training record of nursing staff
2 | Annual documented evidence of staff competencies to undertake ANTT (Nursing Beds) | Check record of competency assessment
3 | Are sterile gloves available if required for ANTT procedure? | These may be in dressing packs/catherisation packs
4 | Are dressing packs stored in a clean, dry, area above floor level. Are they available at all times? | May be stored in resident's room in some homes; if so ensure stored appropriately e.g. in a cupboard
5 | A dressing trolley or suitable trays are available and visibly clean/stored appropriately? | Check top and underside of surfaces; if no trolley what is used - if trays check clean and ask where they are placed in resident's room whilst procedure in progress (not on bed!) and if/how surface tray is placed on is cleaned before procedure
7.1 Catheter care and management of urinary tract infections (UTI)
6 | For staff performing urinary catheterisation, is there documented evidence of appropriate training? | Check records of staff who carry out catheterisation; n/a in residential homes
7 | Are residents with catheters reviewed at least monthly by a doctor or the bladder and bowel team. | If currently no catheterised residents score as not applicable; if catheterised residents record date of review of need for catheter (not catheter change) otherwise
8 | Can staff outline symptoms of urinary tract infection and actions to take - and understand when and when not to use dipstick analysis | Not dark/smelly urine; no dipsticks on 65yo+ or anyone with a catheter. Sample only if indicated by to dip or not to dip flowchart (check awareness)
9 | Is there evidence of up-to-date staff training regarding the catheter care, including emptying and changing bags and patient personal hygiene? | n/a if no catheterised residents but ask what would do if they admitted someone with a catheter in terms of ensuring refresh staff skills
7.2 Enteral feeding
10 | Is there evidence of annual training for staff who perform enteral feeding procedures? | Check records of staff who carry out enteral feeding; n/a in residential homes
11 | Are feeds stored appropriately as per manufacturer's instructions and where applicable food hygiene legislation and stock is rotated?
12 | Is there documented evidence of a system for checking expiry dates? | Feeds will usually be dispensed for a specific period - check what happens if not all used during that time
13 | After each feeding episode, unused feed is discarded? | Ask what happens if not all feed used in one go
14 | Giving sets are single-use and disposed of correctly - staff are able to describe procedure. | Also check storage of any syringes used; how long used for, how cleaned/stored (washed, dried etc)
7.3 Suction and respiratory equipment management
15 | Is suction and all other respiratory equipment clean and dry?
16 | Is single-use tubing used for individual residents and changed weekly or if visibly soiled (suction/nebuliser/oxygen)? | Check machines in use and any that are not in use. Ensure no liquid in machines in storage.
17 | Suction machines are serviced as per manufacturer guidance | Servicing in addition to PATesting; check how servicing recorded and if process is in place to check (e.g. mthly) in working order if not used regularly
18 | Nebulisers are individual use only, cleaned daily, and managed as per respiratory team or manufacturer guidance? (ask to see) | Check machines in use and any that are not in use (e.g. stored in equipment/clinical room), and decontamination process prior to storage.
19 | Nebuliser masks and mouth pieces are cleaned following use (check process with staff) and changed as per respiratory team or manufacturer guidance - usually 3 monthly? | Check any masks in use, also if masks attached to machines in storage check they are clean and stored in plastic bag
20 | Oxygen delivery equipment and masks cleaned appropriately following use? (ask staff to describe process) | Check any masks in use, also if masks attached to cylinders in storage check they are clean and stored in plastic bag
21 | Loaned respiratory/nebuliser equipment is returned to respiratory services when no longer required? | Ask re:process; what cleaning/decontamination process is prior to return if applicable
7.4 Oral health
22 | Have all residents received an oral health assessment and have oral health care plan in place? | Check a sample of care plans
23 | Does each resident have a named dentist and have they seen their dentist in the last 12 months? | Check arrangements for check-ups for residents (rather than only dental input if a resident has a dental problem)
24 | Does the home have an oral health policy/guidance available to all staff and have a named oral health champion? | The home should have a policy which details how dental health and oral care will be managed (can signpost to resources if nec)
25 | Evidence of annual training for staff around oral health - to include care, domestic, and catering staff? | Note the date of training and how this is delivered and updated; ?oral health champion
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
8.0 HAND HYGIENE
1 | Visitors are actively informed to decontaminate their hands on arrival and prior to departure? (clear notice on all entrances) | Are facilities for this readily available
2 | Hand washing sinks are available in communal areas? (including off-lounge/dining areas for residents) | If no hand wash sink in communal areas how is resident hand hygiene managed (e.g. wipes prior to eating)
3 | Wall mounted liquid soap is available at all communal hand wash basins? Soap dispensers are clean (all surfaces - check nozzle/ underneath dispenser) | Check that random selection of dispensers work correctly
4 | Wall mounted paper towels are available at all communal hand wash basins and dispensers are clean? | check aperture where paper towels dispensed as well as outside of container
5 | No bar soap or nail brushes seen at communal hand wash basins.
6 | Working lidded, foot operated general waste bin is available at all communal hand wash basins | Check in working order and bag in situ
7 | Alcohol based hand rub (ABHR 60% - 80%) is available for use by staff/staff are aware of location of gel and limitations of use? (ask members of staff) | Not to use if hands are visibly dirty, check location of dispensers sufficient, ?staff have individual pocket dispensers
8 | Communal ABHR dispensers are replenished, clean, wall mounted or product easily dispensed without need to over-handle receptacle? | Also check random selection of dispensers work, nozzles are clean etc
9 | Laminated/washable hand hygiene posters are visible?
10 | Taps are thermostatically controlled? | Check that water not too hot to the touch - random running of a sample of hot taps
11 | All care staff are 'Bare Below the Elbows' - no wrist watches or wrist jewellery, no stoned rings, no long sleeved garments (uniform policy?)
12 | The nails of care workers are short, clean and free from false/acrylic/gel nails and nail varnish.
13 | All residents are offered hand hygiene facilities prior to meals and after toileting. | Record how this is carried out if residents can't manage to get to the toilet before meals (e.g. wipes)
14 | Hand washing technique is taught at induction and staff are participating in monthly hand hygiene audits. | Evidence of effective hand hygiene audit (correct process, awareness of when HH should be peformed, when gel should not be used etc)
15 | Staff understand the steps to hand washing (wet; soap; wash; rinse; dry). Observe staff performing hand washing technique. | Ensure robust process as per posters,don't apply too much soap which could cause skin soreness and applied after wetting hands, coverage, attention is paid to ensuring hand are dry, and clean hands are not used to turn tap off (use paper towel if not elbow taps).
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
9.0 RESIDENT/SERVICE USER'S ROOMS
1 | Are bedrooms clean and dust free? High - low areas | Check ceilings free from cobwebs, light fittings, picture frames, skirting boards, floor inc under bed
2 | Are residents encouraged to keep bedrooms clutter free and easy to clean (tops of wardrobes; toys; ornaments)
3 | Are residents rooms free from unpleasant smells/malodours?
4 | Are floors/carpets clean and free from stains and odour? | Check condition of flooring and note any areas of wear, staining or tears/fraying, gaps in laminate, damage etc Check edges and corners of rooms for debris and dust etc
5 | There is a robust, documented steam cleaning programme in place for carpets/upholstered fabric items? | Note whether impermeable; if not is steam cleaning/shampooing of furniture carried out and how often (schedule and records)?
6 | Are windows and windowsills in good state of repair and able to be opened to facilitate ventilation | Check that sills are smooth for ease of cleaning, and that there is no mould, glass is intact.
7 | Are there hand washing facilities in the room (wall mounted liquid soap, paper towels, foot operated bin)? Sinks taps/plug holes are clean? | Also check that the rooms are generally clean and in good state of repair. Check no wipes, aprons, gloves in open packets or other inappropriate items left.
8 | Mattress covers are clean, intact, and free from odour? | Inspect 10% (min of 2) in different parts of the home i.e. on each unit/floor and 1 in empty room if possible. Unzip removable covers far enough to see most of inside of cover and core, check for odour,staining (including on outside, underside of cover and mattress core), compression of core and whether cover and core are intact. Also check for overhang (falls risk).
9 | Pressure relieving cushions are clean and intact (unzip and inspect)? | check the cleanliness of covers, whether there is any odour, staining to the cover (inside and out) and the core. Cushions should be allocated to specific resident (labelled) and removed on discharge
10 | Does the condition of mattresses and pressure relieving cushions correspond with latest audit findings? | Check against audit record
9.1 Management of care-equipment: decontamination, storage and/or disposal of no longer used items
11 | Shared items of electronic equipment used by staff and/or residents - including TV remote, iPads, tablet devices, and phones are cleaned before and after use with detergent followed by 70% alcohol | Ask how cleaned/how often/whose responsibility
12 | Do residents have individual hoist slings which are stored in own rooms and items are clean and laundered weekly or if visibly stained? | Slings not stored on hoist or hung together or in bathrooms; check selection
13 | Is there documented evidence of system and responsibilities in place for cleaning residents' equipment? | Ask how cleaned/how often/whose responsibility
14 | Are wheelchairs and walking aids clean and stored away from toilets/risk of contamination? | Check a sample and asked where stored when not in use
15 | Communal hoists/stand aids/wheelchairs are decontaminated between users, and labelled as clean and ready for use? If not currently in use items are cleaned weekly | Ask how cleaned/how often/whose reponsibilty; check where stored
16 | What process is in place for disposal of damaged or no longer used items of equipment (e.g. mattresses, pressure cushions, wheelchairs) | Mattresses should be bagged before removal from resident's room, check where stored if a/w disposal and if for reuse how are they cleaned/decontaminated after use and where are they stored
17 | Are communal hoists stored correctly with boom/jib in the lowest position and brakes on when not in use? | Check clean
9.2 En-suite bathrooms, continence products and commodes
18 | Are en-suite wall tiles, walls, ceilings, wall fixtures - including soap and towel dispensers - and floors clean, intact and free from mould and serratia (bacteria)? | Check high and low areas
19 | Are continence products stored off the floor, in closed cupboard or covered shelf? | Check no wipes, aprons, gloves in open packets left in bathrooms.
20 | Are commodes clean, ready for use and in a good state of repair? | Check underside of frame and seat; if commode pot in place is it clean and how is it emptied/cleaned
21 | Is there an agreed commode cleaning schedule/rota with clearly defined roles and responsibilities? | Check schedule, how is it done and what is used
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
10.0 ENVIRONMENTAL CLEANING - EQUIPMENT AND PROCESSES
1 | Is there a robust, agreed documented cleaning schedule available which outlines tasks, frequencies, roles and responsibilities? (ask to see schedule) | Cleaning schedule needs to break down each room by tasks to do (e.g. flooring daily, skirting boards weekly) how often and what with; check sanitary ware is cleaned with disinfectant stage
2 | Equipment used by the domestic team is clean, well maintained and stored in a locked area in accordance with COSHH regulations? | Are mop buckets, trolleys, vaccuum cleaners etc clean? Are cleaning fluids locked away?
3 | Personal protective equipment is available and appropriately used by the house keeping staff? (colour coded aprons and gloves- ask a member of staff) | Disposable gloves and aprons should be used, not household gloves and tabards.
4 | All cleaning equipment is colour coded in line with national guidance? | Red - bathrooms etc. Blue - general areas inclduing bedrooms (not infected). Green - kitchen/food storage areas. Yellow - bedrooms when infected.
5 | Disinfectant available which conforms to EN14476 - effective against enveloped viruses, or available chlorine - 1000 ppm | Diluted products should be clearly labelled with product name, strength of dilution and date made up. Record name of product
6 | Products used for cleaning and disinfection comply with policy; are stored in original manufactured containers or reconstituted and disposed of as per guidance (e.g. chlorine releasing tabs)? | If bleach based solution in use how is this managed (labelled as hazard with details of contents and date/time made up, new solution each day)
7 | Are cleaning cloths colour coded? | If not, state what current pratice is
8 | Are cloths single use only- if not what is used and do the products conform to guidelines and policy? I.e. laundry | If single use cloths not used, cloths should be changed between rooms and laundered daily
9 | Domestic staff have access to a deep sink with taps away from laundry and food areas for cleaning mops, buckets and other items (e.g. in domestic room, or outside drain with tap) | Deep sink should not be used for hand hygiene
10 | Items of clean equipment and cleaning products are stored away from risk of splash or contamination | Cleaning equipment not stored in room where buckets are emptied (unless in cupboard)
11 | Colour coded buckets are inverted to store, or dried thoroughly prior to storage to prevent pooling/bacterial growth? | Buckets are not stored where contamination is possible
12 | Are mops hung appropriately inverted off floor level to prevent pooling/bacterial growth? | Damp mop heads only if stored
13 | Mop heads are laundered/changed at least daily?
14 | Mop handles are cleaned before use? | Ask how this is done
15 | Flooring is impervious, sealed edges and in a good state of repair?
16 | The room has no inappropriate materials or equipment stored? | There should be a designated room for cleaning equipment where only 'clean' cleaning-related items should be stored; the storage facility should be clean and free from potential contamination. If housed outside debris should not be allowed to blow in, and should not be stored with e.g. gardening equipment
10.1 Management of blood and body fluid spillages
17 | Staff are aware of the process for cleaning spilllages of blood or body fluids (ask staff) | Check understanding of spillage No reusable items should be used for cleaning up
18 | Spillage kit available or alternative process to soak up spillage, dispose of items, and decontaminate area with detergent and available chlorine based produce? | N/A if not available but staff should know where kit is (check kit) and what to use it for, and correct process for blood v no blood
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
11.0 COMMUNAL BATHROOMS,SHOWERS & WASH ROOMS
1 | Are wall tiles, walls, ceilings, wall fixtures - including soap and towel dispensers - and floors clean, intact and free from mould/serratia (bacteria)? | Also check sealant, grout
2 | Shower curtains are subject to a weekly documented cleaning programme, are clean and free from mould/serratia? | Ask how often they are washed; in single rooms should be washed between residents and as needed, in communal showers shd be washed weekly
3 | There is no evidence of inappropriate storage of communal items e.g. creams, shampoos, soap etc.? | Ensure towels/non-bathroom equipment is not stored in the bathroom
4 | Are bath/shower mats clean and hung to dry? | Not fabric unless single use; check underside of rubber mats
5 | Baths and sinks are clean and intact - including taps, plugs, and plug holes?
6 | There is clear evidence that communal bath/showers are cleaned between use (i.e. standard process described by staff, and cleaning products to hand)? | Ask staff what they use to clean the bath between use, and where the product is kept
7 | Lifting aids are waterproof, easy to clean and appropriately maintained? (check under seats)
8 | Foot operated bins and appropriate bags are available for clinical/offensive waste?
9 | Is there evidence that the facility has had a Legionella risk assessment carried out by a competently trained person in the last 2 years? | Check who carried out the risk assessment; should be registered with Legionella Control Association or other evidence of training/competence, note date of last assessment
10 | Have all actions from Legionella risk assessment/report been completed? | Check actions section of report; check info re:temperature checks and how these are done; if mixer taps, temp should be taken on the hot water pipe feeding the pipe, not on the water from the tap and check records of temp checks that in range
11 | As per Legionella prevention HSE guidance, shower heads are removed, de-scaled and disinfected at least every 3 months as per cleaning schedule | Check schedule for this, when was it last done, ask what they do regarding shower heads (should be removed and immersed)
12 | To reduce the risk of Legionella growth there is documented evidence that baths, showers and sinks that are not in use (e.g. empty rooms) have a planned provision for weekly running of water? | Check schedule
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
12.0 COMMUNAL TOILETS
1 | Hand washing facilities in communal and staff toilets have wall-mounted liquid soap and paper towel dispensers, pedal operated general household waste bin (no bars of soap, fabric towels or nail brushes) | Check the foot operated bins work and are clean inside and out
2 | A laminated poster demonstrating the correct hand washing technique is displayed above all hand washing facilities. | At communal hand hygiene facilities as a minimum. Also check nnothing in toilets open to contamination (pads, wipes, spare toilet rolls)
3 | All toilets are visibly clean with no body fluid contamination, limescale stains, or other visible staining. This includes toilet brushes ('hovering' type) | Lift lid and seat.
4 | There is sufficient odour control/ventilation - vents clean and in working order? | Check vents are included on cleaning schedule
5 | There are pedal operated offensive/clinical waste bins for disposal of used continence products, or a defined process (e.g. items placed in small sanitary bags taken to sluice) for disposal into correct waste stream?
6 | Flooring is sealed and smooth (including edges and corners) and is free of stains, dust and grit.
7 | On inspection toilet raisers are in good condition, clean and free from stains.
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
13.0 SLUICE/DIRTY UTILITY ROOM
1 | Is there a dedicated sluice/dirty utility room available? (for disposal and management of faeces, urine, vomit, blood and other bodily fluids) | If no dedicated room how is this managed
2 | Is there a designated sink available for decontamination of patient equipment? | How are commode pots etc cleaned - in absence of washer/disinfector there should be a robust detergent and disinfectant process, and minimal risk of contamination to surroundings (no cleaning using water sprays etc).
3 | Is there a sluice-hopper available? | If not, how are the contents of commodes etc emptied? If no sluice and not done in en suites, where and what is the process for transporting to room where emptied ? Are paper products (bottles, commode pots) used instead and if so note how are these disposed of if no macerator.
4 | Are there separate hand washing facilities available including wall-mounted liquid soap and paper towels? | poster displayed? Foot operated bin?
5 | Is the room clean and free from inappropriate items? | Should only be used to store urinals, commode pots etc stored correctly (see 8.8 below) - also high enough that can't be splashed. No wipes, and only gloves and aprons for wearing in the sluice, no materials for general cleaning, vases etc
6 | Flooring is impervious, sealed including coved edges and in a good state of repair?
7 | Is the floor clean, free from spillages, dust and grit (including corners)?
8 | Bed pans, commode buckets, and urinals are stored inverted on racks above floor level and away from potential sources of contamination | Not applicable if not stored in sluice but provide details of where they are stored after cleaning. Check that any that are stored and e.g. catheter hangers etc are clean. Check what catheters are emptied into (i.e.single use clean receptacle or jug which is processed in a washer disinfector after use)
9 | Commodes are visibly clean and labelled/stored, as fit for use? | If not stored in sluice this should be scored NA.
10 | Commodes and commode frames are in a good state of repair and are subject to a weekly documented thorough clean and inspection programme? | If not stored in sluice this should be scored NA. If stored in resident's room will be scored in section 2 but check re:regular routine cleaning, e.g. whose responsibility.
11 | Is there a washer disinfector or macerator available? If so, is the equipment clean, and in working order, serviced as per manufacturer guidance and repaired quickly if required, to ensure correct disposal or disinfection of bed pans, urinals and commode buckets? | Check machine is maintained (contract in place) and that items which have been through a cycle are clean (if available).
Total Scores |  |  | 0 | 0 | 0 | 0
Section |  | Description/Guidance | Compliant | Non-compliant | NA | Total % | Audit comments/findings
14.0 WASTE MANAGEMENT
1 | Does the home have a service contract with a registered company for the disposal of waste in accordance with Duty of Care (Environmental Protection Act 1990) - check consignment notes | Must have a contract with other than Bury Council as they do not provide an offensive waste service and the Health and Social Care Act states that if a care home provides personal care an offensive waste stream should be in place; record who waste provider is
2 | Is waste segregated appropriately (check contents of bins)? | Non-compliant if no offensive waste stream; check what colour bags pads, wipes, gloves and aprons are put in.
3 | Offensive waste stream (yellow/black bags) available for disposal of continence products and other items, e.g. dressings, swabs. | Bags should be post code labelled
4 | Waste bags are no more than 2/3 full? | Check bins not over filled and tied/sealed properly.
5 | Are clinical/offensive waste bins foot operated? | Check the foot operated bin works and is clean inside and out
6 | Where no clinical waste stream is available, items of waste generated from known or suspected infectious individual (e.g. COVID-19) are stored safely for 72 hours prior to placing in household waste stream | Record what arrangement is if no clinical/infectious waste stream
7 | There are no waste bags left inappropriately around the facility. | Ensure waste bags are removed to its designated area.
8 | Is the external disposal area inaccessible to unauthorised persons with lockable offensive/clinical waste bins? | To ensure this area is not accessible to members of the public.
Total Scores |  |  | 0 | 0 | 0 | 0

## Actions
RAG Rating Percentages
0% to 70% = Red
71% to 91% = Amber
92% to 100% = Green |  |  |  |  | Single Use Symbol
AUDIT RESULTS - FEEDBACK
Topic Area | RAG % | Proposed actions for care home | Date for completion | Person(s) responsible | Progress
1. Policies and audit | 0
2. Management of Infections | 0
3. Communal areas | 0
4. Laundry | 0
5. Treatment Room | 0
6. Sharps management | 0
7. Clinical Practices | 0
8. Hand Hygiene | 0
9. Residents Rooms | 0
10. Cleaning Equipment | 0
11. Communal bath/shower rooms | 0
12. Communal toilets | 0
13. Sluice/dirty utility room | 0
14. Waste Management | 0
Overall Score | 0
Please complete this feedback sheet with your updated actions within 3 months of receipt or as directed if more urgent action required, and return to your infection control/health protection nurse
Many thanks

## Communications
Date & time | Information obtained/advice given/action required | Name IPCN/HPN

## COVID-19 Supporting guidance
Overarching COVID-19 guidance
COVID-19 Care Home Guidance: https://www.gov.uk/government/collections/coronavirus-covid-19-social-care-guidance

## Supporting documents
Supporting Documents
British Lung Foundation (2018) Nebulisers - care and cleaning. PDF available to download at: https://www.blf.org.uk/support-for-you/nebulisers
Care Quality Commission (2018) Medicines Requiring Fridge Storage. Available at: https://www.cqc.org.uk/guidance-providers/adult-social-care/medicines-requiring-fridge-storage
Care Quality Commission (2015) Standards to expect, Care Homes. CQC, Newcastle Upon Tyne
Department of Health & Health Protection Agency (2013) Prevention and control of infection in care homes – an information resource. DoH, London.
Department of Health (2013). HTM-07-01 Health Technical Memorandum. Safe Management of Healthcare Waste. HMSO
Department of Health (2012). The Health and Social Care Act 2008 (2012)- Code of Practice for health and adult social care on the prevention and control of infections and relating guidance. HMSO
Department of Health (2006). Immunisation against infectious disease. DoH, London
Health and Safety Executive (2013) Personal protective equipment (PPE) at work, a brief guide. Available at: http://www.hse.gov.uk/pubns/indg174.pdf
Health and Safety Executive (HSE) Managing Legionella in hot and cold water systems. Available at: https://www.hse.gov.uk/healthservices/legionella.htm
Infection Control Nurses Association (2005) Audit Tools for monitoring infection control guidelines within the community setting 2005. Suitable Design
National Patient Safety Agency (2010) The national specifications for cleanliness: Guidance on setting and measuring performance outcomes in care homes. NPSA, London
National Patient Safety Agency (2010) The National Specifications for cleanliness in the NHS: Guidance on setting and measuring performance outcomes in primary care medical and dental premises. NPSA, London
National Patient Safety Agency (2009). The Revised Healthcare Cleaning Manual. NPSA
NICE (2012) Infection: Prevention and Control of healthcare-associated infections in primary and community care. National Institute for Health and Care Excellence, Manchester.
Royal College of Nursing (2012) Tools of the Trade – RCN guidance for health care staff on glove use and the prevention of contact dermatitis. RCN, London.
Salford Community Infection Prevention and Control Team (2013) Care Home Audit Tool

## COVID-19 IPC
COVID-19 - IPC
| Question | Comments/Action Required | Compliant | Non-compliant | Total % | Action Complete by Care Home
1 | Information is prominently displayed at the home about COVID-19, the processes to follow including handwashing, the use of PPE and limiting contact with others
2 | Information is provided to all visitors either before the visit or on arrival, about the processes to be followed to prevent the spread of infection including COVID-19 testing
3 | There is a clear log of visitors to the home and confirmation that they followed all procedures when on site to reflect the need for contact details for test and trace
4 | All visitors have facilities for hand cleaning/sanitising when entering and leaving the premises
5 | Appropriate PPE is made available for, and used by, all visitors
6 | The process for visitors is risk assessed, reviewed regularly and adapted to reflect the current situation in the service and the latest guidance and best practice
7 | Staff have a high level of awareness of social distancing and consistently maintain the required distances from others in the care setting when it is possible to do so
8 | When/if a returned test is positive, established processes and protocols are immediately followed: • For residents immediate isolation, For staff, immediate absence from work
9 | The timing of staff breaks are reviewed to limit the number of staff taking a break at the same time, and also the number of staff using dedicated staff rooms is restricted to ensure social distancing can be observed
|  |  | 0 | 0 | 0

## Sheet1
ü